FOREST HOUSE EDUCATION CENTRE

EMERGENCY EVACUATION PROCEDURES

IF YOU FIND A FIRE OR ONE IS REPORTED TO YOU:

- Anyone discovering a fire or other emergency for which the building should be evacuated should activate the alarm using the nearest break glass call point. They should then notify the main office of the exact location of the incident.

FIRE FIGHTING

- The safe evacuation of persons is an absolute priority. Trained staff may only attempt to deal with small fires, if it is safe to do so without putting themselves at risk, using portable firefighting equipment.

- Ensure the alarm is raised BEFORE attempting to tackle a fire.

ON HEARING THE FIRE ALARM

- All staff, pupils, occupants of building must respond to alarm activations.

- The fire alarm is a continuous ringing bell

- The Service Manager will check the fire panel and if safe to do so go to the zone where the alarm has been activated to investigate if there is a fire or false alarm.

- The Service Manager will call the number on the fire panel to notify FHEC Site Manager and summon the emergency services, if necessary.

- Staff will supervise the evacuation of pupils and visitors to the designated assembly point

- Staff not with pupils, visitors and contractors must leave the building by the nearest exit and report directly to their senior member of staff at their designated assembly point.

Assembly point is located at the Fountain Area adjacent to FHAU

- Pupils should leave in a single file when instructed by the teacher in charge of the class. Pupils should then leave by the nearest available escape route. The last person to leave the classroom must close the door. Pupils should walk in their subject groups and remain with their teacher at the assembly point.

- If a pupil is not in a classroom when the alarm sounds, he/she must walk to the assembly point leaving the building by the nearest escape route.

- If the lesson is in the upstairs studio classroom the nearest fire exit is through the fire door in the studio classroom leading through the first floor annex offices. Follow the signs leading to the stairs fire exit door.

- A calm orderly exit is essential – WALK DON’T RUN

- Do not run or stop to collect your belongings

- Once pupils have been evacuated, only if safe to do so, remaining staff will check the toilets and ensure fire doors are closed.

- On arrival the assembly area pupils must stand together while staff check the register. Registers, visitor logs, etc. will be taken out to the assembly point by the office administrator and handed to the Assistant Head or Service Manager to do a roll call.

- If the fire brigade needs to be called, the Service Manager will liaise with the fire brigade upon their arrival.

- The building must not be re-entered until staff are notified it is safe to do so by the Fire Brigade or FHEC Site Manager.

- If the building cannot be reoccupied following an evacuation, pupils will be evacuated to Harper House, 15 Forest Lane and arrangements made with Roman Fields office to contact parents.